Actions defined in the NEDA DB (18/09/2017)

*action on BELLOW :
-OWNER action: 5 specific fields OWNER, ORIGIN, REFERENCE, HYPERLINK, PRICE
ex =>, OWNER(= field bought by) : INFN LNL, REFERENCE : KSM-0316-2695=>Serial Number, ORIGIN : BELLOWS_CI_01 or 02 PRICE :...

-SEALING action:
DATE=>field TDATE available=a generic field for each action
TEMP : type of the field : FLOAT, unit : degC
HEIGHT type FLOAT, unit mm
STRBELLOWCELL FLOAT, unit N.m
STRBELLOWCLOSING FLOAT, unit N.m

*action on BODY:
-OWNER

-GLASS action :
TYPE type : VARCHAR, unit : none

-PAINT action :
TYPE type : VARCHAR, unit : none
DATE=>generic field tdate
NBOFLAYERS type : INTEGER, unit : none
COMMENTS=>generic field tcomment

-LEAKTEST :
DATE=>tdate
LEAKLEVEL type : FLOAT, unit : mbar/l/sec
MEASUREDAT  type : FLOAT , unit : bar

*actions on PMT :

-OWNER action: 5 specific fields OWNER, ORIGIN, REFERENCE, HYPERLINK, PRICE, generic fields: tdate, operator, tcomment
ex => OWNER(= field bought by) : IFIC Valencia, REFERENCE, ORIGIN : Hamamatsu, HYPERLINK : https://www.hamamatsu.com/us/en/index.html, price, tdate , operator  and tcomment

-MSPEC (Manufacturer Specifications) action:
CATHODELUMINOUSSENS FLOAT, unit  microAmp/lm
ANODELUMINOUSSENS FLOAT, unit Amp/lm
ANODEDARKCURRENT FLOAT, unit nA
CATHODEBLUESENS FLOAT, unit Index

-CAT  (Customer Acceptance Test) action:
DATE=>generic field TDATE
SCINTILLATOR : VARCHAR, unit none (=EJ301, EJ309 or BC501A)
HVCS INTEGER, unit V
CSONTHESCOPE FLOAT, unit V
HVCO INTEGER, unit V
COONTHESCOPE FLOAT, unit V
HVAM INTEGER, unit V
AMONTHESCOPE FLOAT, unit V
NPECO1 INTEGER, unit MeVee-1
NPECO2 INTEGER, unit MeVee-1
NPECS INTEGER, unit MeVee-1
NPEAM INTEGER, unit MeVee-1
NPENA1 INTEGER, unit MeVee-1
NPENA2 INTEGER, unit MeVee-1
AVERAGENPE INTEGER, unit MeVee-1
QE FLOAT, unit percent
COMMENTS=>tcomment
STATUSPMT  VARCHAR, unit none (Accepted or not)

*actions on NSD :

-FILL action :
DATE=>field TDATE =a generic field for each action
TYPE type VARCHAR, unit NONE=>ex : EJ301, EJ309 or BC501A
BUBBLINGTIME type INTEGER, unit min
BUBBLINGPRESS type FLOAT, unit bar
+fields of owner action (as the scintillator is not a DB's object, we can't have an action on it, we bypass the problem by that way) :
OWNER
ORIGIN
REFERENCE
HYPERLINK
PRICE
COMMENTS=>generic field tcomment

-PERF action :
DATE=>field TDATE
PMT : VARCHAR, unit none=> which particulary PMT was coupled (=its barcode)
NPE INTEGER, unit MeVee-1
FOMNG1FOM : VARCHAR, none
FOMNG1LOWTHR : INTEGER, keVee
FOMNG1HIGHTHR : INTEGER, keVee
FOMNG2FOM : VARCHAR, none
FOMNG2LOWTHR : INTEGER, keVee
FOMNG2HIGHTHR : INTEGER, keVee
FOMNG3FOM : VARCHAR, none
FOMNG3LOWTHR : INTEGER, keVee
FOMNG3HIGHTHR : INTEGER, keVee
HYPERLINK =>for figure
EFFICIENCY FLOAT, unit : none
COMMENTS=>tcomment

-MOUNT action (+name of base action : OPTC for Optical Contact):
DATE=>tdate
TYPE : VARCHAR, unit None => Grease or SiPad
COMMENTS=>tcomment

*actions on SEDIFF :
-OWNER action (same as other)
-SETUP action :
DATE=>tdate
GAIN : INTEGER, unit NONE
COMMENTS=>tcomment

*actions on DIGITIZERM:
-OWNER action (same as other)
-SETUP action :
DATE=>tdate
GAIN : INTEGER, unit NONE
COMMENTS=>tcomment

*actions on DIGITIZER:
-OWNER action (same as other)
-HARDWARE action :
MACADD : VARCHAR, unit NONE
IPADD : VARCHAR, unit NONE
-SOFTWARE action :
DATE=>tdate
V6FIRM: VARCHAR, unit NONE
V5FIRM : VARCHAR, unit NONE
REGISTER : VARCHAR unit NONE
LINUX : VARCHAR unit NONE
OPERATOR =>operator (generic field)
COMMENTS =>tcomment
-SETUP action :
DATE=>tdate
GAIN : INTEGER, unit NONE
COMMENTS=>tcomment

*actions on WS:
-OWNER action (same as other)
-HARDWARE action :
MACADD : VARCHAR, unit NONE
IPADD : VARCHAR, unit NONE
PCISLOT : INTEGER, unit NONE
BIOS : VARCHAR, unit NONE
SPREADSPEC : VARCHAR(1) (T/F), unit NONE
CPU : VARCHAR, unit NONE
NBCPU: INTEGER, unit NONE
RAM : INTEGER, unit Go
DISKSPACE : INTEGER, unit To
NBDISK : INTEGER, unit NONE
SAMTECSLOT : INTEGER, unit NONE
-SOFTWARE action :
DATE=>tdate
OS: VARCHAR unit NONE (Operating System)
KERNEL: VARCHAR, unit NONE
OPERATOR =>operator (generic field)
COMMENTS =>tcomment

*actions on GTSM :
- OWNER action (same as other)
- HARDWARE action :
 NODETYPE : VARCHAR, unit NONE
 NODEID : INTEGER, unit none
 FIRMWARE : VARCHAR, unit NONE

*action on all other objects :
-OWNER action