Phase 2		Working / document / #0

Data Processing, Re-processing,
Management and Analysis
 Part 1
Description of Phase 1 and main goals of Phase2

The Data Processing Team

Version / Date	Comments	ATRIUM Link
0 – 30/06/2021	draft version	https://atrium.in2p3.fr/8bcef4d2-f74d-4d1d-b74b-05fdef708407

# Introduction

Through the first MOU signed in 2009, the AGATA collaboration has worked for more than a decade to build an array able to track in 3D gamma-rays at energy suitable for nuclear spectroscopy.
Some of the main ingredients to achieve such goal are :
- Germanium (semi-conductors) crystals highly electrically segmented [37 signals in total per crystal]
- A first key algorithm (PSA, one per crystal) able to extract from the 37 digitized signals a list of hits (energy,position)
- A second algorithm (Tracking), based on probabilistic interactions of gamma-ray with matter, able to reconstruct the track given by any single gamma-rays emitted.
The full array is operating at various (LNL/GSI/GANIL ...) host laboratories in Europe. On the different sites, the array should be integrated with the local infrastructure and is very often coupled to different ancillary detectors. An experiment is a unique combination of beam, target and setup during which a coherent global dataset composed of a set of runs (sub-datasets) is produced. A typical time scale for an experiment is about one week of beam time with extra-time before and after for setup and calibrations.
Among all the systems involved, the data processing sub-system should provide the required tools to run on site experiments but also tools for offline re-processing and analysis.
The following picture gives a global overview of the online and offline data processing workflow.

PSA and Tracking are key algorithms for AGATA and they should run online to produce (from left to right), at the end of the processing chain, tracked gamma-rays which, merged if there are any with ancillary data, that can be stored for ‘final’ data analysis. Many transformations are performed along the chain and it might be required or even mandatory to re-process the data from different levels.

The Online computing infrastructure should then be able to handle the processing of the data in real time which results in strong constraints on the AGATA DAQ box and requires many computers (=cluster) operating all together and thus involved a lot of services. It should deal with the various electronic cards attached to the Germanium crystals and should be connected to the local infrastructure and ancillaries of the host laboratory.
An offline facility for re-processing is not so far provided by the AGATA collaboration. However, basics programs (named emulators), able to run from data files workflows similar (or more simple) to the online ones, are provided. They are of course much less performant since they can run only on a single computer. Obviously, an access to the data – and meta-data – produced online is mandatory to re process the data as well as the softwares which are to be applied on the raw ancillaries data. Concerning the software applied to the ancillary part, they may differ from the online workflow. For the offline PSA and Tracking algorithms, so far they are more or less identical to those as used online[1]. Thus, many bricks of software are shared and distributed between the two environments.
[1] However, one can use different existing algorithms and/or tune the parameters of the current used one during the run in order to optimize the performance.

The goal of this document is to provide an overview of the data processing chains as they have been deployed for the phase 1 of AGATA, to recall the main objectives of the phase 2 in order to prepare a Data Management Plan and to draw a roadmap for futures developments.
# A view of the Phase 1

The Online computing infrastructure (DAQ Box) is composed of:

- acquisition servers: 45 [40 capsules integrated on site - 05/06/2021]
  - one node per crystal + several for building, merging, tracking
  - nodes for Run control, Disk server, SRM (GRID related), Slow control ...
- 1 backup server: 50 TB available
- 1 CEPH cluster: 168 TB available @700 MB/s (4 OSDs, 3 Monitors, 1 RBD client)
- analysis servers: 4
- network switches : 8
- visualization workstations : 5

The following picture is a general view of the AGATA Data Flow infrastructure, the grey part covers the AGATA DAQ box.

The global workflow, distributed on the cluster, is managed by DCOD/NARVAL[2] which is written in ADA. The system is based on a set of coordinated processes (Actors) of 3 kinds : Producers (handle incoming data), Intermediaries (filters, builders, mergers, …) and Consumers (data storage into files, histograms, …).
[2] X. Grave, R. Canedo, J. -. Clavelin, S. Du and E. Legay, "NARVAL a modular distributed data acquisition system with Ada 95 and RTAI," 14th IEEE-NPSS Real Time Conference, 2005., 2005, pp. 5 pp.-, doi: 10.1109/RTC.2005.1547454.
The full workflow is represented by a Directed Acyclic Graph (DAG), the vertexes being the various processes (PSA, tracking, etc) and the edges shows how they are connected to process the data. Here is a typical representation of such a DAG which covers almost all of the experimental campaigns.

Each Germanium crystal is connected to a computer node (through PCI, it requires thus one dedicated card in it, true for electronic phase 0 and 1) and in this node there is an actor (producer) in charge of reading the data from the PCI card. The traces (38 in total, 36 from the segments, 1 from the core duplicated using two different scales – low/high energy resolution - and some additional informations from the electronic processing cards) go through a chain of actors (filters) following the DAG. An actor could then run in any node in the cluster, this is configured at the very beginning, using the Topology Manager (TM). The transport of the data from one actor to another is performed by DCOD/NARVAL (using two modules PMH – Posix Memory Handler - and TCL – Transport layer – see part3).
Notes:
The TM manages the required configuration parameters needed by the various electronics as well as the full definition of the workflow, all those metadata being saved in a local database
→ such metadata are not so far redistributed and remain attached to the DAQ Box.
The full topology could be more complex and some actors might not be represented
Buffers of data are exchanged between actors. There sizes are fixed through the TM
- The first actor in charge of gathering or building the coincidence data from different sub-systems is the builder. The DAG’s before and after the builder are referred as Local Level (LLP) and Global Level processing (GLP) respectively.
Produced data can be saved (consumed in files) at different levels (see text in green in the DAG picture) along the full data processing chain are presented in the picture above. The very first level (AD_Level_0 for AGATA Data level 0) consists mainly in the digitized signals (sample at 100 MHz) plus some values calculated in the FPGA of the electronic cards. The local level processing consists then in a first process in charge of the calibration of the signals, followed by the PSA itself. At this level the traces are removed from the flow and transformed into lists of hits (energies, time and 3D positions). An additional step is performed to correct from the damaged due to neutrons and to correct from non linear effects. Out of this PostPSA, the lists of hits are then calibrated and in general also saved in files (AD_Level_1, Hits files in the AGATA vocabulary).
At the global level, the built AGATA events (based on timestamp coincidences, AD_Level_2 – built data in the AGATA vocabulary) might be saved also. They are merged (also using timestamp coincidences, AD_Level_3 – merged data in the AGATA vocabulary) with the data coming for the ancillaries (since out of the AGATA DAQ Box such data are considered in the AGATA world as from the traces i.e AD_Level_0). This is because the last algorithm, gamma tracking, may required information from the ancillary detector (source position). It should be noted that at each step of the global level, data are added to the data flow, nothing is consumed. At the very last stage, data can be directly used for data analysis (AD_Level_4): cuts applied to ancillaries to select specific nucleus, gamma-gamma (or more) coincidences to build level schemes etc…
Depending on the online experimental conditions, one may decide to store only data at a given level. The first level stored can then be considered as RAW Data since data at such level can only be re-produced by running the same experiment (beam/target/laboratory ...) in exactly the same conditions (setup/parameters ...). A common usage is to store, as raw data, traces (Level_0), in case the ancillary brings a stringent hardware trigger otherwise the raw data level is based on hits as obtained at the end of the Local Level processing (Level_1). The ancillary detectors are not fully managed by the AGATA workflow manager since they are integrated in the local data acquisition systems of the hosted laboratories. Assuming all the meta-data are stored and made available, data at any level greater than the raw one can be re-produced offline :
 → re-processing can start from any level at which data are stored
 → The re-processing needs can be specific to any particular experiment
 → From the last stage (Level_4) one can also produce new data sets.
Ex: gamma-gamma matrix tagged by some conditions on ancillaries
Notes:
- It requires 8088 bytes, per crystal per event, to encode all the signals out of the electronic cards.
- Since the traces are consumed to produce Hits, the amount of data is considerably reduced after the PSA. About a factor 30 to 40 can be observed depending on the multiplicities/energies of gamma-rays.
- Depending of which workflow is applied, the ‘data’ challenge could be very different from one processing(online)/re-processing to another one.
- Through the hardware trigger (using dedicated ancillaries) the total amount of online data to be stored can also vary consequently.
Of course, to run correctly, all the sub-systems should be defined and initialized with the correct parameters and calibration files. Most of those parameters are saved in flat files together with the raw data within sub-directories, e.g. one per run[3]. A single python script can be used to generate them. Concerning the data produced along the processing chain, they are saved in binary files using a format (ADF for Agata Data Format) defined by the AGATA collaboration (this is documented on ATRIUM, section 4.6). At the very last level, data may also be saved directly in ROOT/TTree files.
[3] The name of the sub-directory contains the run number and the date at which the run has started on site.
At the end of a given experiment, all the online data together with their parameter/calibration files are sent to the GRID using a python script[4] developed by the collaboration. It is the responsibility of the local team to perform this task. The full experiment data set is always duplicated towards two TIER1 centers, one in France CCIN2P3, one in Italy, CNAF Bologna. Here is a representation of the cumulative data produced on site during the GANIL campaign from 2014 to 2021.
[4] GridDataSync.py see https://atrium.in2p3.fr/b40ecd78-86f1-4053-a7fc-27115079a106

As already stated, the total amount of data per experiment may change significantly from one to another. Over the GANIL phase, about 500 TB of data has been collected in 36 weeks of beam time. A simple statistical analysis over that seven years period gives a mean production of about 0.062 Tb/day/Crystal.
Once on the GRID, the dataset can be dowloaded[5], by the team in charge of the full data analysis, to their own infrastructures. Even if data may have been re-processed directly on the GRID, in most of the cases, the analysis is performed on user’s local infrastructures. It should be noted that the data and/or metadata produced by the local teams are not re-distributed to the AGATA collaboration.
[5] It requires then to have an AGATA VO certificate
As mentioned, DCOD/NARVAL is the online tool for the entire workflow control: it is written in the ADA language. In order to allow the implementation of very specific algorithms like PSA and Tracking, C/C++ code could be embedded in an actor, assuming the right interface is provided. So far, such an interface exists only for consumers, producers and filters (intermediary with only one input line and one output line in the DAG). A dedicated package, called AGAPRO (AGATA PROcessing), has been produced and is being maintained in a subversion repository and currently in a gitlab repository[6]. It contains all the c/c++ actors used online but also the additional c/c++ libraries to re-process offline (from files) the workflows in a much more simple and thus less efficient environment (the workflow is executed on a single PC).
[6] https://gitlab.in2p3.fr/IPNL_GAMMA

# Some of the main new goals of the Phase 2

As stated in the Project definition, the general guidelines for the construction of AGATA Phase 2 are:
- Sustainable growth of the AGATA subsystems from a configuration of 60 to the one of 180 Detectors.
- Improving mobility and compatibility for the Hosting labs: FAIR/NUSTAR, GANIL/SPIRAL, LNL/SPES, HIE-ISOLDE, JYFL
- Achieving full Tracking Performance and optimizing the Position sensitivity.
- Improving performance of subsystems: Detectors, FEBEE, DAQ, Infrastructure
They do apply then to the data processing parts. It is also worth noting that Germanium capsules are to be regularly purchased: as a matter of fact, a progressive improvement of the processing model, taking advantages of the new hardware (software) forthcoming opportunities in the market at reasonable prices.

Growing of the AGATA array
Any Germanium capsule added to AGATA means at least five additional processes (producer reading the traces form the electronic cards or files, Pre-PSA/PSA/Post-PSA and a consumer to dump on files) to be run at the local level within the current workflow. For only this local level part and for the full AGATA array (180 crystals), it represents at least 900 processes to be managed. It adds also strong constraints at the global level, at least online, since the output of all those independent lines should be synchronized at the builder level. Moreover, more complex topologies are anticipated (see the improvements paragraph) as well as the use of heterogeneous hardwares (GPU, FPGA etc …). The actual PSA [AGS: AGATA Grid Search], the most resource-consuming algorithm, can process online one event (per crystal) in 10ms on the existing hardware. The more computationally expensive multiple interaction algorithm requires 10ms per crystal to process the data based on a 2016 Xeon core. Assuming a conservative 4kHz per crystal post trigger this implies 40 cores per crystal or a 7200-core farm for an array made of 180 crystals.
→ It is then important to try and optimize the different parts of the data processing chains. This also requires to have a robust, efficient and quick monitoring to detect any failure of sub-systems.
Regarding the data collected, taking the limit of 180 detectors and the mean value of 0.062 Tb/Day/Crystal, it would require more than 11 Tb per day for an experiment within the current computing model. One may anticipate reduction in the cost of one Tb in the future as well as an increase of the IO speed.
→ However, it would be at a high cost and thus it might be a better strategy to try and reduce the amount of collected data (see improvements section for the strategies)

Improvements of the data processing model
PSA and Tracking are the key algorithms for AGATA. Improvements are foreseen for both of them in term of reconstruction efficiency but also in term of speed in running them online and/or offline. One of the promising technologies, under investigation in the AGATA collaboration, to improve their performances is to use Machine Learning approaches: one may need in such a case to add dedicated hardware – GPU/FPGA - in the processing chains. Online, taking advantage of the DCOD workflow manager, one can even have different kinds of PSA/Tracking algorithms applied depending on some specific characteristics of a given event.
In the following picture, on the left, events are split depending on the number of hits in the crystal while on the right, different slices of one crystal are treated by different algorithms/machines.

Moreover, one may apply a non GPU algorithm for specific events while others require the GPU cards for the treatment in real time.

Note:
It would be easier to implement such approaches once AGATA is fully equipped with the new – phase 2 - electronics boards since the reading of the data from the cards is based on ethernet and not anymore on specific PCI cards with point-to-point connexions to computers.
As stated above, the global data processing involves many bricks of software. While some efforts have been devoted to check for the quality (automatic code checking, continuous integration for compilation) and to try and develop efficient pieces of software (concurrency, profiling), it is obvious that the current code[7] is far from what modern CPU based machine can deliver.
[7] For instance, one limit on the performance of the PSA in terms of rate is due to the memory access/cache that is constantly needed. Cache optimization should be applied to improve it, whatever the solution
→ A more systematic and deep optimization should be performed on the current and future codes
In order to address the issue of collecting a large amounts of data, improvements are foreseen also by applying a dedicated new strategy. For instance, one may keep the traces involving complex PSA events on disk while not for simple events. Another approach is to compress the information, auto-encoders are under consideration for such a purpose. As well, more generally, the possibility to add software triggers will be considered to focus on the most interesting events. This is illustrated by the following picture showing a global soft trigger able to act before the PSA is applied, reducing then the amount of signals processed online and/or stored.

Because of the greater complexity of the foreseen workflows, the survey of the whole system should be enhanced through a robust, efficient and quick monitoring. This should be coupled also with a better management of the data, meta-data needed and produced by the data processing chains.
The deep modifications of the data processing model do not apply only for online : it is also intended to provide offline re-processing tools with the capability of a comparable level of quality and performances without however all the constraints of real time environments : it may thus require a solution able to run on single computers, on clusters and even possibly on clouds. Linked to this, one may also in the future ensure that any dataset – including metadata - produced from the online dataset are made available to the AGATA community.
# Conclusions